## HIV RDTs
Eligible List of HIV Rapid Diagnostic Tests [Published 23 JANUARY 2025 UNCONTROLLED COPY - PUBLIC VERSION]
This list includes HIV Rapid Diagnostics Tests (and their variants) that are eligible for procurement AND that have been procured in the past 5 years. HIV Rapid Diagnostict Tests that are WHO Prequalified or US FDA approved continue to be eligible for procurement; and if not available in the list may be added to the list upon request (after verification of eligibility).
Follow this link for additional information WHO Prequalified In Vitro Diagnostics
https://extranet.who.int/prequal/vitro-diagnostics/prequalification-reports/whopr
Follow this link for additional information on the US FDA information for Donor Screening Assays for Infectioius Agents and HIV Diagnostic Assays
CLICK HERE FOR NEW PRODUCT REQUEST, REPORT CORRECTIONS OR OMISSIONS WITH THIS LIST
DISCLAIMER (PUBLIC VERSION): The information contained in these eligible lists is provided for informational purposes only and represent the recommendation for procurement by the procurement service agents, based on procurement strategies at the time of publication and may not reflect the current eligibility status. While efforts have been made to accurately represent each product, the information contained herein is based on information available to FHI 360 (Qualifying, Testing, Issuing Project, QTI) and may not be all inclusive or be reflective of the currently marketed product. Also, the information in this list is not intended to be an endorsement of the supplier/manufacturer/product. Donors and other procurement agents are encouraged to follow their own guidelines and procedures for procurement decision making.
Regulatory Actions And QA Recommendation | Manufacturer Product Unique ID | Brand Name | Pack Size | Shelf-life (Months) | Storage Instructions | Supplier | Manufacturer | Manufacturing Site | Regulatory Basis of Approval | Regulatory Version | Regulatory Reference Number | Regulatory Reference Version | Specimen | Content Description | Initial Date Product Added to Eligible List
None Specified | 7D2342 | Determine™ HIV-1/2 | 20 Tests | 18 Months | 2-30 °C | Abbott Rapid DX International Limited | Abbott Diagnostics Medical Co. Ltd | 357 Matsuhidai Matsudo-shi, Chiba-ken 270-2214, Japan | WHO PQP | ROW | PQDx 0033-013-00 | v10.0 | Serum, Plasma, Whole Blood (capillary or venous) | Each box contains: • 2 cards of 10 test cards • 1 IFU | 2017-01-01
None Specified | 7D2343 | Determine™ HIV-1/2 | 100 Tests | 18 Months | 2-30 °C | Abbott Rapid DX International Limited | Abbott Diagnostics Medical Co. Ltd | 357 Matsuhidai Matsudo-shi, Chiba-ken 270-2214, Japan | WHO PQP | ROW | PQDx 0033-013-00 | v10.0 | Serum, Plasma, Whole Blood (capillary or venous) | Each box contains: • 10 cards of 10 test cards • 1 IFU | 2017-01-01
This kit is a compact version, with 50% less volume compared to other Determine kit configurations to enhance shipment and storage. This downsizing includes the replacement of glass capillary tubes with plastic ones for safety. Products intended for Nigeria are identified with the "DSN" suffix in the part number. | 7D2343SET | Determine™ HIV-1/2 | 100 Tests | 18 Months | 2-30 °C | Abbott Rapid DX International Limited | Abbott Diagnostics Medical Co. Ltd | 357 Matsuhidai Matsudo-shi, Chiba-ken 270-2214, Japan | WHO PQP | ROW | PQDx 0033-013-00 | v10.0 | Serum, Plasma, Whole Blood (capillary or venous) | Each box contains: • 20 cards of 5 test cards • 1 IFU • Chase buffer 1 bottle/2.5 mL • 100 Capillary tubes, plastic • 100 Blood lancets, sterile | 2017-01-01
None Specified | 7D2842 | Determine HIV Early Detect | 20 Tests | 18 Months | 2-30 °C | Abbott Rapid DX International Limited | Abbott Diagnostics Medical Co. Ltd | 357 Matsuhidai Matsudo-shi, Chiba-ken 270-2214, Japan | WHO PQP | ROW | PQDx 0243-013-00 | v8.0 | Serum, Plasma, Whole Blood (capillary or venous) | Each box contains: • 2 cards of 10- tests • 1 Instructions for Use | 2017-01-01
None Specified | 7D2843 | Determine HIV Early Detect | 100 Tests | 18 Months | 2-30 °C | Abbott Rapid DX International Limited | Abbott Diagnostics Medical Co. Ltd | 357 Matsuhidai Matsudo-shi, Chiba-ken 270-2214, Japan | WHO PQP | ROW | PQDx 0243-013-00 | v8.0 | Serum, Plasma, Whole Blood (capillary or venous) | Each box contains: • 10 cards of 10- tests • 1 Instructions for Use | 2017-01-01
This kit is a compact version, with 50% less volume compared to other Determine kit configurations to enhance shipment and storage. This downsizing includes the replacement of glass capillary tubes with plastic ones for safety. | 7D2843SET | Determine HIV Early Detect | 100 Tests | 18 Months | 2-30 °C | Abbott Rapid DX International Limited | Abbott Diagnostics Medical Co. Ltd | 357 Matsuhidai Matsudo-shi, Chiba-ken 270-2214, Japan | WHO PQP | ROW | PQDx 0243-013-00 | v8.0 | Serum, Plasma, Whole Blood (capillary or venous) | Each box contains: • 20 cards of 5 tests • 1 Instructions for Use • 1 bottle chase buffer (2.5 mL) • 100 Capillary tubes, plastic • 100 Blood lancets, Sterile | 2017-01-01
None Specified | IHI-T402WA | ABON™ HIV 1/2/O Tri-Line Human Immunodeficiency Virus Rapid Test | 40 Tests | 24 Months | 2-30 °C | Abbott Rapid DX International Limited | ABON Biopharm (Hangzhou) Co., Ltd. | #198 12th Street East, Hangzhou Economic & Technological Development Area, Hangzhou, 130018, P.R. China | WHO PQP | ROW | PQDx 0141-051-00 | v8.0 | Serum, Plasma, Whole Blood (capillary and venous) | Each box contains: • 40 Test devices (test and dessicant) • 40 Specimen droppers • 2 Bottles of buffer (3 mL/vial) • 1 Instructions For Use | 2017-01-01
None Specified | 90-1010 | INSTI™ HIV -1/HIV-2 Antibody Test | 24 Tests | 15 Months | 2-30 °C | bioLytical Laboratories, Inc. | bioLytical Laboratories, Inc. | 1108-13351 Commerce Parkway, V6V 2X7 Richmond, British Columbia, Canada | WHO PQP | ROW | PQDx 0002-002-00 | v6.0 | Serum, Plasma, Whole Blood (capillary or venous) | Each kit contains: • 24 membrane unit individually packaged • 24 sample diluent vials (1.5 mL) • 24 Color developer bottles (1.5 mL) • 24 Clarifying solution bottles (1.5 mL) | 2017-01-01
None Specified | 90-1021 | INSTI™ HIV -1/HIV-2 Antibody Test | 48 Tests | 15 Months | 2-30 °C | bioLytical Laboratories, Inc. | bioLytical Laboratories, Inc. | 1108-13351 Commerce Parkway, V6V 2X7 Richmond, British Columbia, Canada | WHO PQP | ROW | PQDx 0002-002-00 | v6.0 | Serum, Plasma, Whole Blood (capillary or venous) | Each kit contains: • 48 membrane units individually packaged • 48 sample diluent vial (1.5 mL) • 1 Color developer bottle (85 mL) • 1 Clarifying solution bottle (85 mL) | 2017-01-01
None Specified | 90-1013 | INSTI™ HIV -1/HIV-2 Antibody Test | 24 Tests | 15 Months | 2-30 °C | bioLytical Laboratories, Inc. | bioLytical Laboratories, Inc. | 1108-13351 Commerce Parkway, V6V 2X7 Richmond, British Columbia, Canada | WHO PQP | ROW | PQDx 0002-002-00 | v6.0 | Serum, Plasma, Whole Blood (capillary or venous) | Each kit contains: • 24 membrane unit individually packaged • 24 sample diluent vials (1.5 mL) • 24 Color developer bottles (1.5 mL) • 24 Clarifying solution bottles (1.5 mL) • 24 single-use alcohol swabs • 24 single-use sterile lancets • 24 single-use pipettes (50 mL) | 2017-01-01
None Specified | 90-1022 | INSTI™ HIV -1/HIV-2 Antibody Test | 48 Tests | 15 Months | 2-30 °C | bioLytical Laboratories, Inc. | bioLytical Laboratories, Inc. | 1108-13351 Commerce Parkway, V6V 2X7 Richmond, British Columbia, Canada | WHO PQP | ROW | PQDx 0002-002-00 | v6.0 | Serum, Plasma, Whole Blood (capillary or venous) | Each kit contains: • 48 membrane unit individually packaged • 48 sample diluent vials (1.5 mL) • 1 Color developer bottles (85 mL) • 1 Clarifying solution bottles (85 mL) • 48 single-use alcohol swabs • 48 single-use sterile lancets • 48 single-use pipettes (50 mL) | 2017-01-01
None Specified | 72460 | Geenius™ HIV 1/2 Confirmatory Assay [with Geenius™ HIV 1/2 Confirmatory Controls] | 20 Tests | 24 Months | 2-30 °C | Bio-Rad Laboratories | Bio-Rad Laboratories | 3, bd Raymond Poincaré, 92430, Marnes-La-Coquette, France | WHO PQP | CE-MARK | PQDx 0181-031-00 | v3.0 | Serum, Plasma, Whole Blood (capillary or venous) | Each kit contains: • 20 Cassettes individually packaged • 1 Buffer, 5 mL • 20 Capillary microtupes plastic (for fingerstick protocol) • 1 Instructions for Use | 2017-01-01
None Specified | 72329 | Geenius™ HIV 1/2 Confirmatory Controls | 20 Tests | 12 Months | 2-8 °C | Bio-Rad Laboratories | Bio-Rad Laboratories | Route de Cassel, 59114, Steenvoorde, France | WHO PQP | CE-MARK | PQDx 0181-031-00 | v3.0 | Serum, Plasma, Whole Blood (capillary or venous) | Each kit contains: • 1 x 120 uL Positive Control • 1 x 120 uL Negative Control • 20 Positive Control Label Cards • 20 Negative Control Label Cards • 1 Instructions for Use | 2017-01-01
Product item code 65-9500-1 listed in WHO PQ IVD list does not have a published PQDx 0210-006-00 and product is not in eligible list. Consult QA eligibility staff for additional product information | 65-9506-0 | DPP® HIV 1/2 Assay | 20 Tests | 24 Months | 2-30 °C | Chembio Diagnostic Systems, Inc. | Chembio Diagnostic Systems, Inc. | 3661 Horseblock Road, Medford, NY 11763, US | WHO PQP | ROW | PQDx 0053-006-00 | v3.0 | Oral Fluid, Serum, Plasma, Whole Blood (capillary or venous) | Each kit contains: • 20 Individuallly pouched test devices with desiccant packet. • 20 Oral Fluid Swabs • 20 Disposable 10 mL Sample Loops • 20 bottles of DPP HIV SampeTainer (1 mL) • 1 Bottle of 6 mL of DPP HIV Running Buffer • 1 Product Insert (instructions for use) | 2017-01-01
None Specified | HIV 201 (60-9527-0) | Sure Check® HIV 1/2 Assay | 25 Tests | 24 Months | 8-30 °C | Chembio Diagnostic Systems, Inc. | Chembio Diagnostic Systems, Inc. | 3661 Horseblock Road, Medford, NY 11763, US | WHO PQP | ROW | PQDx 0054-006-00 | v3.0 | Serum, Plasma, Whole Blood (capillary or venous) | Each kit contains: • 25 pouches containing: 1 sampler with test trip inside 1 buffer vial attached to the sampler 1 sterile lancet 1 bandage and 1 dessicant packet | 2017-01-01
This regulatory version may not be imported to Nigeria | HIV101 (60-9500-0) | HIV 1/ 2 STAT-PAK® | 20 Tests | 24 Months | 8-30 °C | Chembio Diagnostic Systems, Inc. | Chembio Diagnostic Systems, Inc. | Chembio Diagnostics Malaysia Sdn. Bhd No 2-1, 2nd Floor, N-Tatt Building, Jalan TP 5, Taman Perindustrian UEP, 47600 Subang Jaya, Selangor, Malaysia | WHO PQP | ROW | PQDx 0007-006-00 | v2.0 | Serum, Plasma, Whole Blood (capillary or venous) | Each box contains: • 20 individually pouched tests • 1 x 3.5 mL HIV running buffer • 20 disposable 5µl sample loops • 1 instructions for use | 2017-01-01
### suffix is a country specific product code on the outer package and relates to language of the IFU [This is the community version] | 5X4-1000.### | OraQuick®HIV Self Test | 50 Tests | 30 Months | 2-30 °C | OraSure Technologies, Inc. | OraSure Technologies, Inc. | Pacific Biotech Co., Ltd., 42 Moo 4, Napa, Muang,, Petchaboon, 6700, Thailand | WHO PQP | ROW | PQDx 0159-055-01 | v8.0 | Oral Fluid | Contains 50 kits of (5X4-0004.xxx). | 2017-01-01
### suffix is a country specific product code on the outer package and relates to language of the IFU [This is the community version] | 5X4-1000.### | OraQuick®HIV Self Test | 50 Tests | 30 Months | 2-30 °C | OraSure Technologies, Inc. | OraSure Technologies, Inc. | 220 East First Street, Bethlehem, PA 18015-1360, USA | WHO PQP | ROW | PQDx 0159-055-01 | v8.0 | Oral Fluid | Contains 50 kits of (5X4-0004.xxx). Each pouched kit (5X4-0004.xxx) contains: • 1 divided pouch with - a single use test device - a desiccant - a 1mL developer solution vial • 1 test stand • 1 instructions for use • 1 disposal bag | 2017-01-01
### suffix is a country specific product code on the outer package and relates to language of the IFU [This is the community version] | 5X4-1001.### | OraQuick®HIV Self Test | 250 Tests | 30 Months | 2-30 °C | OraSure Technologies, Inc. | OraSure Technologies, Inc. | Pacific Biotech Co., Ltd., 42 Moo 4, Napa, Muang,, Petchaboon, 6700, Thailand | WHO PQP | ROW | PQDx 0159-055-01 | v8.0 | Oral Fluid | Contains 250 kits of (5X4-101.###) Each pouched kit (5X4-0004.xxx) contains: • 1 divided pouch with - a single use test device - a desiccant - a 1mL developer solution vial • 1 test stand • 1 instructions for use • 1 disposal bag | 2017-01-01
### suffix is a country specific product code on the outer package and relates to language of the IFU [This is the community version] | 5X4-1001.### | OraQuick®HIV Self Test | 250 Tests | 30 Months | 2-30 °C | OraSure Technologies, Inc. | OraSure Technologies, Inc. | 220 East First Street, Bethlehem, PA 18015-1360, USA | WHO PQP | ROW | PQDx 0159-055-01 | v8.0 | Oral Fluid | Contains 250 kits of (5X4-101.###) Each pouched kit (5X4-0004.xxx) contains: • 1 divided pouch with - a single use test device - a desiccant - a 1mL developer solution vial • 1 test stand • 1 instructions for use • 1 disposal bag | 2017-01-01
### suffix is a country specific product code on the outer package and relates to language of the IFU [This is the pharmacy version] | 5X4-2001.### | OraQuick®HIV Self Test | 200 Tests | 30 Months | 2-30 °C | OraSure Technologies, Inc. | OraSure Technologies, Inc. | Pacific Biotech Co., Ltd., 42 Moo 4, Napa, Muang,, Petchaboon, 6700, Thailand | WHO PQP | ROW | PQDx 0159-055-01 | v8.0 | Oral Fluid | Contains 200 kits of (5X4-2001U.###) | 2019-09-07
### suffix is a country specific product code on the outer package and relates to language of the IFU [This is the pharmacy version] | 5X4-2001.### | OraQuick®HIV Self Test | 200 Tests | 30 Months | 2-30 °C | OraSure Technologies, Inc. | OraSure Technologies, Inc. | 220 East First Street, Bethlehem, PA 18015-1360, USA | WHO PQP | ROW | PQDx 0159-055-01 | v8.0 | Oral Fluid | Contains 200 kits of (5X4-2001U.###) | 2019-09-07
Details of 5X-0014 and 5X-0015 listed in WHO PQ eligible list are not available in the WHOPAR. Consult QA Team for confirmation of eligibility. | 5X4-0010 | OraQuick® HIV-1/2 Rapid Antibody Test | 100 Tests | 30 Months | 2-30 °C | OraSure Technologies, Inc. | OraSure Technologies, Inc. | Pacific Biotech Co., Ltd., 42 Moo 4, Napa, Muang,, Petchaboon, 6700, Thailand | WHO PQP | ROW | PQDx 0159-055-00 | v11.0 | Oral Fluid, Serum, Plasma, Whole Blood (capillary or venous) | Each box contains: • 100 individually pouched tests (1 desiccant, 1 developer solution vial) • 10 Test stands • 4x25 specimen collection loops • 1 Instructions for use | 2017-01-01
Details of 5X-0014 and 5X-0015 listed in WHO PQ eligible list are not available in the WHOPAR. Consult QA Team for confirmation of eligibility. | 5X4-0010 | OraQuick® HIV-1/2 Rapid Antibody Test | 100 Tests | 30 Months | 2-30 °C | OraSure Technologies, Inc. | OraSure Technologies, Inc. | 220 East First Street, Bethlehem, PA 18015-1360, USA | WHO PQP | ROW | PQDx 0159-055-00 | v11.0 | Oral Fluid, Serum, Plasma, Whole Blood (capillary or venous) | Each box contains: • 100 individually pouched tests (1 desiccant, 1 developer solution vial) • 10 Test stands • 4x25 specimen collection loops • 1 Instructions for use | 2017-01-01
Details of 5X-0014 and 5X-0015 listed in WHO PQ eligible list are not available in the WHOPAR. Consult QA Team for confirmation of eligibility. | 5X4-0012 | OraQuick® HIV-1/2 Rapid Antibody Test | 500 Tests | 30 Months | 2-30 °C | OraSure Technologies, Inc. | OraSure Technologies, Inc. | Pacific Biotech Co., Ltd., 42 Moo 4, Napa, Muang,, Petchaboon, 6700, Thailand | WHO PQP | ROW | PQDx 0159-055-00 | v11.0 | Oral Fluid, Serum, Plasma, Whole Blood (capillary or venous) | Each box contains: • 500 individually pouched tests (1 desiccant, 1 developer solution vial) • 20 Test stands • 25x20 specimen collection loops • 1 Instructions for use | 2019-09-07
Details of 5X-0014 and 5X-0015 listed in WHO PQ eligible list are not available in the WHOPAR. Consult QA Team for confirmation of eligibility. | 5X4-0012 | OraQuick® HIV-1/2 Rapid Antibody Test | 500 Tests | 30 Months | 2-30 °C | OraSure Technologies, Inc. | OraSure Technologies, Inc. | 220 East First Street, Bethlehem, PA 18015-1360, USA | WHO PQP | ROW | PQDx 0159-055-00 | v11.0 | Oral Fluid, Serum, Plasma, Whole Blood (capillary or venous) | Each box contains: • 500 individually pouched tests (1 desiccant, 1 developer solution vial) • 20 Test stands • 25x20 specimen collection loops • 1 Instructions for use | 2019-09-07
None Specified | PI05FRC05 | First Response HIV 1-2.O Card test (Version 2.0) | 5 Tests | 24 Months | 4-30 °C | Premier Medical Corporation Private Limited | Premier Medical Corporation Private Limited | A1-302 and 3704-05, GIDC, Sarigam 396155, Valsad, Gujarat, India | WHO PQP | ROW | PQDx 0363-010-00 | v3.0 | Serum, Plasma, Whole Blood (capillary or venous) | Each box contains: • 5 pouched tests (1 test device, 1 dessicant) • 5 Specimen Transfer Devices • 1 x 2.5 mL Assay Buffer Bottle • 5 Sterile Lancets • 5 Alcohol Swabs • 1 Instructions for Use | 2020-06-08
None Specified | PI05FRC10 | First Response HIV 1-2.O Card test (Version 2.0) | 10 Tests | 24 Months | 4-30 °C | Premier Medical Corporation Private Limited | Premier Medical Corporation Private Limited | A1-302 and 3704-05, GIDC, Sarigam 396155, Valsad, Gujarat, India | WHO PQP | ROW | PQDx 0363-010-00 | v3.0 | Serum, Plasma, Whole Blood (capillary or venous) | Each box contains: • 10 pouched tests (1 test device, 1 dessicant) • 10 Specimen Transfer Devices • 1 x 2.5 mL Assay Buffer Bottle • 10 Sterile Lancets • 10 Alcohol Swabs • 1 Instructions for Use | 2020-06-08
None Specified | PI05FRC25 | First Response HIV 1-2.O Card test (Version 2.0) | 25 Tests | 24 Months | 4-30 °C | Premier Medical Corporation Private Limited | Premier Medical Corporation Private Limited | A1-302 and 3704-05, GIDC, Sarigam 396155, Valsad, Gujarat, India | WHO PQP | ROW | PQDx 0363-010-00 | v3.0 | Serum, Plasma, Whole Blood (capillary or venous) | Each box contains: • 25 pouched tests (1 test device, 1 dessicant) • 25 Specimen Transfer Devices • 1 x 2.5 mL Assay Buffer Bottle • 25 Sterile Lancets • 25 Alcohol Swabs • 1 Instructions for Use | 2020-02-26
None Specified | PI05FRC30 | First Response HIV 1-2.O Card test (Version 2.0) | 30 Tests | 24 Months | 4-30 °C | Premier Medical Corporation Private Limited | Premier Medical Corporation Private Limited | A1-302 and 3704-05, GIDC, Sarigam 396155, Valsad, Gujarat, India | WHO PQP | ROW | PQDx 0363-010-00 | v3.0 | Serum, Plasma, Whole Blood (capillary or venous) | Each box contains: • 30 pouched tests (1 test device, 1 dessicant) • 30 Specimen Transfer Devices • 1 x 2.5 mL Assay Buffer Bottle • 30 Sterile Lancets • 30 Alcohol Swabs • 1 Instructions for Use | 2020-02-26
None Specified | PI05FRC50 | First Response HIV 1-2.O Card test (Version 2.0) | 50 Tests | 24 Months | 4-30 °C | Premier Medical Corporation Private Limited | Premier Medical Corporation Private Limited | A1-302 and 3704-05, GIDC, Sarigam 396155, Valsad, Gujarat, India | WHO PQP | ROW | PQDx 0363-010-00 | v3.0 | Serum, Plasma, Whole Blood (capillary or venous) | Each box contains: • 50 pouched tests (1 test device, 1 dessicant) • 50 Specimen Transfer Devices • 2x 2.5 mL Assay Buffer Bottle • 50 Sterile Lancets • 50 Alcohol Swabs • 1 Instructions for Use | 2020-02-26
None Specified | PI05FRC60 | First Response HIV 1-2.O Card test (Version 2.0) | 60 Tests | 24 Months | 4-30 °C | Premier Medical Corporation Private Limited | Premier Medical Corporation Private Limited | A1-302 and 3704-05, GIDC, Sarigam 396155, Valsad, Gujarat, India | WHO PQP | ROW | PQDx 0363-010-00 | v3.0 | Serum, Plasma, Whole Blood (capillary or venous) | Each box contains: • 60 pouched tests (1 test device, 1 dessicant) • 60 Specimen Transfer Devices • 4x 2.5 mL Assay Buffer Bottle • 60 Sterile Lancets • 60 Alcohol Swabs • 1 Instructions for Use | 2020-02-26
None Specified | PI05FRC100 | First Response HIV 1-2.O Card test (Version 2.0) | 100 Tests | 24 Months | 4-30 °C | Premier Medical Corporation Private Limited | Premier Medical Corporation Private Limited | A1-302 and 3704-05, GIDC, Sarigam 396155, Valsad, Gujarat, India | WHO PQP | ROW | PQDx 0363-010-00 | v3.0 | Serum, Plasma, Whole Blood (capillary or venous) | Each box contains: • 100 pouched tests (1 test device, 1 dessicant) • 100 Specimen Transfer Devices • 4 x 2.5 mL Assay Buffer Bottle • 100 Sterile Lancets • 100 Alcohol Swabs • 2 Instructions for Use | 2020-02-26
None Specified | KH-R-02 | Diagnostic kit for HIV (1+2) antibody (colloidal gold) V2 (KHB) | 50 Tests | 24 Months | 4-30 °C | Shanghai Kehua Bio-engineering Company., Limited (KHB) | Shanghai Kehua Bio-engineering Company., Limited (KHB) | 1189 North Qinzhou Road 200233, Shanghai, China | WHO PQP | ROW | PQDx 0267-037-00 | v5.0 | Serum, Plasma, Whole Blood (capillary or venous) | Each box contains: • 50 Test cassettes • 1 x 4 mL bottle of sample diluent • 1 Instructions for use | 2017-01-01
None Specified | R-401-50-C-2 | Diagnostic kit for HIV (1+2) antibody (colloidal gold) V2 (KHB) | 50 Tests | 24 Months | 4-30 °C | Shanghai Kehua Bio-engineering Company., Limited (KHB) | Shanghai Kehua Bio-engineering Company., Limited (KHB) | 1189 North Qinzhou Road 200233, Shanghai, China | WHO PQP | ROW | PQDx 0267-037-00 | v5.0 | Serum, Plasma, Whole Blood (capillary or venous) | Each box contains: • 50 Test cassettes •1 x 4 mL bottle of sample diluent • 50 Safety Lancets • 50 Alcohol Swabs • 50 Disposable Transfer Pipettes • 1 Instructions for use | 2017-01-01
None Specified | 03FK10 | Bioline HIV-1/2 v3.0 | 30 Tests | 24 Months | 1-30 °C | Abbott Rapid DX International Limited | Abbott Diagnostics Korea, Inc. | 65, Borahagal-ro, Giheung-gu, Yongin-si, Gyeonggi-do, 17099, Republic of Korea | WHO PQP | ROW | PQDx 0027-012-00 | v5.0 | Serum, Plasma, Whole Blood (capillary or venous) | Each box contains: • 30 pouched tests with a desiccant • 1 x 4 mL Assay diluent vial • Instructions for use | 2017-01-01
None Specified | 03FK16 | Bioline HIV-1/2 v3.0 | 25 Tests | 24 Months | 1-30 °C | Abbott Rapid DX International Limited | Abbott Diagnostics Korea, Inc. | 65, Borahagal-ro, Giheung-gu, Yongin-si, Gyeonggi-do, 17099, Republic of Korea | WHO PQP | ROW | PQDx 0027-012-00 | v5.0 | Serum, Plasma, Whole Blood (capillary or venous) | Each box contains: • 25 pouched tests with a desiccant • 1 x 4 mL Assay diluent vial • 25 x capillary pipettes, • 25 x sterile lancets, • 25 x alcohol swabs • Instructions for use | 2017-01-01
None Specified | 06FK30 | Bioline HIV/Syphilis Duo | 25 Tests | 24 Months | 1-30 °C | Abbott Rapid DX International Limited | Abbott Diagnostics Korea, Inc. | 65, Borahagal-ro, Giheung-gu, Yongin-si, Gyeonggi-do, 17099, Republic of Korea | WHO PQP | ROW | PQDx 0179-012-00 | v7.0 | Serum, Plasma, Whole Blood (capillary or venous) | Each box contains: • 25 individual foil pouched tests with a desiccant • 1 x 4 mL Assay diluent vial • 1 Instructions for Use | 2022-04-14
None Specified | 06FK35 | Bioline HIV/Syphilis Duo | 25 Tests | 24 Months | 1-30 °C | Abbott Rapid DX International Limited | Abbott Diagnostics Korea, Inc. | 65, Borahagal-ro, Giheung-gu, Yongin-si, Gyeonggi-do, 17099, Republic of Korea | WHO PQP | ROW | PQDx 0179-012-00 | v7.0 | Serum, Plasma, Whole Blood (capillary or venous) | Each box contains: • 25 individual foil pouched tests with a desiccant • 1 x 4 mL Assay diluent vial • 25 Capillary Pipettes • 25 Lancets (sterile) • 25 alcohol swabs • 1 Instructions for Use | 2017-01-01
WHO PQ listing includes 1206502E that is not documented in PQDx 0149-052-00. Consult product eligibility staff to verify | 1206502 | Uni-Gold™ HIV | 20 Tests | 20 Months | 2-27 °C | Trinity Biotech Manufacturing Limited | Trinity Biotech Manufacturing Limited | Arkray Healthcare Private Limited, Plot No. 336, 338, 340, Road Number 3, GIDC, Sachin, Surat, Gujarat 394230, India | WHO PQP | ROW | PQDx 0149-052-00 | v13.0 | Serum, Plasma, Whole Blood (capillary or venous) | Each box contains: • 20 Tests • 1 x 2 mL Vial Wash Solution • 20 Disposable Plastic Non-sterile Pipettes • 1 Instruction for use | 2017-01-01
SPECIFIC TO NIGERIA | 1206502N | Uni-Gold™ HIV | 20 Tests | 20 Months | 2-27 °C | Trinity Biotech Manufacturing Limited | Trinity Biotech Manufacturing Limited | Arkray Healthcare Private Limited, Plot No. 336, 338, 340, Road Number 3, GIDC, Sachin, Surat, Gujarat 394230, India | WHO PQP | NIGERIA | PQDx 0149-052-00 | v13.0 | Serum, Plasma, Whole Blood (capillary or venous) | Each box contains: • 20 tests individually pouched. • 1 x 2 mL Vial Wash Solution • 20 Disposable Plastic Non-sterile Pipettes • 1 Instruction for use | 2017-01-01
None Specified | 72327 | Genie™ Fast HIV 1/2 | 25 Tests | 18 Months | 2-30 °C | Bio-Rad Laboratories | Bio-Rad Laboratories | 3, bd Raymond Poincaré, 92430, Marnes-La-Coquette, France | WHO PQP | CE-MARK | PQDx 0153-031-00 | v4.0 | Serum, Plasma, Whole Blood (capillary or venous) | Each kit contains: • 25 Test Cassettes • Diluent (<0.1% sodium azide): 1 Bottle (5 mL) • 50 Disposable plastic Pipettes | 2018-01-11
None Specified | 72327 | Genie™ Fast HIV 1/2 | 25 Tests | 18 Months | 2-30 °C | Bio-Rad Laboratories | Bio-Rad Laboratories | Route de Cassel, 59114, Steenvoorde, France | WHO PQP | CE-MARK | PQDx 0153-031-00 | v4.0 | Serum, Plasma, Whole Blood (capillary or venous) | Each kit contains: • 25 Test Cassettes • Diluent (<0.1% sodium azide): 1 Bottle (5 mL) • 50 Disposable plastic Pipettes | 2018-01-11
None Specified | 72347 | Genie™ Fast HIV 1/2 | 25 Tests | 18 Months | 2-30 °C | Bio-Rad Laboratories | Bio-Rad Laboratories | 3, bd Raymond Poincaré, 92430, Marnes-La-Coquette, France | WHO PQP | CE-MARK | PQDx 0153-031-00 | v4.0 | Serum, Plasma, Whole Blood (capillary or venous) | Each kit contains: • 25 Test Cassettes • Diluent (<0.1% sodium azide): 1 Bottle (5 mL) • 50 Disposable plastic Pipettes • 25 Microsafes (80 microL) • 25 Lancets • 25 Alcoopads | 2022-07-26
None Specified | 72347 | Genie™ Fast HIV 1/2 | 25 Tests | 18 Months | 2-30 °C | Bio-Rad Laboratories | Bio-Rad Laboratories | Route de Cassel, 59114, Steenvoorde, France | WHO PQP | CE-MARK | PQDx 0153-031-00 | v4.0 | Serum, Plasma, Whole Blood (capillary or venous) | Each kit contains: • 25 Test Cassettes • Diluent (<0.1% sodium azide): 1 Bottle (5 mL) • 50 Disposable plastic Pipettes • 25 Microsafes (80 microL) • 25 Lancets • 25 Alcoopads | 2022-07-26
None Specified | 72330 | Genie™ Fast HIV 1/2 | 50 Tests | 18 Months | 2-30 °C | Bio-Rad Laboratories | Bio-Rad Laboratories | 3, bd Raymond Poincaré, 92430, Marnes-La-Coquette, France | WHO PQP | CE-MARK | PQDx 0153-031-00 | v4.0 | Serum, Plasma, Whole Blood (capillary or venous) | Each kit contains: • 50 Test Cassettes • Diluent (<0.1% sodium azide): 1 Bottle (5 mL) • 50 Disposable plastic Pipettes | 2022-07-26
None Specified | 72330 | Genie™ Fast HIV 1/2 | 50 Tests | 18 Months | 2-30 °C | Bio-Rad Laboratories | Bio-Rad Laboratories | Route de Cassel, 59114, Steenvoorde, France | WHO PQP | CE-MARK | PQDx 0153-031-00 | v4.0 | Serum, Plasma, Whole Blood (capillary or venous) | Each kit contains: • 50 Test Cassettes • Diluent (<0.1% sodium azide): 1 Bottle (5 mL) • 50 Disposable plastic Pipettes | 2022-07-26
None Specified | I20FRC25 | First Response® HIV1+2/Syphilis Combo Card Test | 25 Tests | 24 Months | 4-30 °C | Premier Medical Corporation Private Limited | Premier Medical Corporation Private Limited | A1-302 and 3704-05, GIDC, Sarigam 396155, Valsad, Gujarat, India | WHO PQP | ROW | PQDx 0364-010-00 | v4.0 | Serum, Plasma, Whole Blood (capillary or venous) | Each box contains: • 25 pouched tests (1 test device, 1 dessicant) • 25 Specimen transfer device • 1 x 2.5 ml Assay buffer • 25 Sterile Lancets • 25 Alcohol Swabs • 1 Instructions for use | 2019-09-07
None Specified | I20FRC30 | First Response® HIV1+2/Syphilis Combo Card Test | 30 Tests | 24 Months | 4-30 °C | Premier Medical Corporation Private Limited | Premier Medical Corporation Private Limited | A1-302 and 3704-05, GIDC, Sarigam 396155, Valsad, Gujarat, India | WHO PQP | ROW | PQDx 0364-010-00 | v4.0 | Serum, Plasma, Whole Blood (capillary or venous) | Each box contains: • 30 pouched tests (1 test device, 1 dessicant) • 30 Specimen transfer device • 1 x 2.5 mL Assay buffer • 30 Sterile Lancets • 30 Alcohol Swabs • 1 Instructions for use | 2019-09-07
None Specified | I20FRC50 | First Response® HIV1+2/Syphilis Combo Card Test | 50 Tests | 24 Months | 4-30 °C | Premier Medical Corporation Private Limited | Premier Medical Corporation Private Limited | A1-302 and 3704-05, GIDC, Sarigam 396155, Valsad, Gujarat, India | WHO PQP | ROW | PQDx 0364-010-00 | v4.0 | Serum, Plasma, Whole Blood (capillary or venous) | Each box contains: • 50 pouched tests (1 test device, 1 dessicant) • 50 Specimen transfer device • 2 x 2.5 mL Assay buffer • 50 Sterile Lancets • 50 Alcohol Swabs • 1 Instructions for use | 2019-09-07
None Specified | I20FRC60 | First Response® HIV1+2/Syphilis Combo Card Test | 60 Tests | 24 Months | 4-30 °C | Premier Medical Corporation Private Limited | Premier Medical Corporation Private Limited | A1-302 and 3704-05, GIDC, Sarigam 396155, Valsad, Gujarat, India | WHO PQP | ROW | PQDx 0364-010-00 | v4.0 | Serum, Plasma, Whole Blood (capillary or venous) | Each box contains: • 60 pouched tests (1 test device, 1 dessicant) • 60 Specimen transfer device • 4 x 2.5 mL Assay buffer • 60 Sterile Lancets • 60 Alcohol Swabs • 1 Instructions for use | 2019-09-07
None Specified | I20FRC100 | First Response® HIV1+2/Syphilis Combo Card Test | 100 Tests | 24 Months | 4-30 °C | Premier Medical Corporation Private Limited | Premier Medical Corporation Private Limited | A1-302 and 3704-05, GIDC, Sarigam 396155, Valsad, Gujarat, India | WHO PQP | ROW | PQDx 0364-010-00 | v4.0 | Serum, Plasma, Whole Blood (capillary or venous) | Each box contains: • 100 pouched tests (1 test device, 1 dessicant) • 100 Specimen transfer device • 4 x 2.5 mL Assay buffer bottle • 100 Sterile Lancets • 100 Alcohol Swabs • 2 Instructions for use | 2019-09-07
None Specified | ITPW02152-TC40 | ONE STEP Anti-HIV (1&2) Test | 40 Tests | 24 Months | 2-30 °C | Intec Products, Inc. | InTec Products, Inc. | 332, Xinguang Road, Xinyang IND. AREA, Haicang, Xiamen, 361022, China | WHO PQP | ROW | PQDx 0372-017-00 | v5.0 | Serum, Plasma (EDTA, heparin sodium or sodium citrate), Venous whole blood, Capillary whole blood | Each Kit contains: • 1 x 40 Test Cassette and dessicants • 1 x 40 Dropper • 4 x sample diluent bottles (2 mL) • 1 x package insert | 2019-09-07
None Specified | ITPW02152-TC25 | ONE STEP Anti-HIV (1&2) Test | 25 Tests | 24 Months | 2-30 °C | Intec Products, Inc. | InTec Products, Inc. | 332, Xinguang Road, Xinyang IND. AREA, Haicang, Xiamen, 361022, China | WHO PQP | ROW | PQDx 0372-017-00 | v5.0 | Serum, Plasma (EDTA, heparin sodium or sodium citrate), Venous whole blood, Capillary whole blood | Each kit contains: • 1 x 25 Test Cassette and dessicants • 1 x 25 Dropper • 3 x sample diluent bottles (2 mL) • 1 x package insert | 2019-09-07
None Specified | ITPW02153-TC40 | ONE STEP Anti-HIV (1&2) Test | 40 Tests | 24 Months | 2-30 °C | Intec Products, Inc. | InTec Products, Inc. | 332, Xinguang Road, Xinyang IND. AREA, Haicang, Xiamen, 361022, China | WHO PQP | ROW | PQDx 0372-017-00 | v5.0 | Serum, Plasma (EDTA, heparin sodium or sodium citrate), Venous whole blood, Capillary whole blood | Each kit contains: • 1 x 40 Test Cassette and dessicants • 1 x 40 Dropper • 4 x sample diluent bottles (2 mL) • 1 x 40 sterile safety lancet • 1 x 40 alcohol swab • 1 x package insert | 2019-09-07
None Specified | 90-1071 | INSTI® HIV Self Test | 1 Test | 15 Months | 2-30 °C | bioLytical Laboratories, Inc. | bioLytical Laboratories, Inc. | 1108-13351 Commerce Parkway, V6V 2X7 Richmond, British Columbia, Canada | WHO PQP | ROW | PQDx 0002-002-01 | v5.0 | Human Fingerstick Whole Blood | Each box contains: • 1 x Blotted membrane unit • 1 x 1.5 mL sample diluent bottle • 1 x 1.5 mL color developer bottle • 1 x 1.5 mL clarifying solution bottle • 1 sterile single-use lancet • 1 adhesive bandage • 1 alcohol swab • 1 Instructions for Use | 2019-09-07
None Specified | 60-9508-0 | Sure Check HIV Self-Test | 1 Test | 24 Months | 8-30 °C | Chembio Diagnostic Systems, Inc. | Chembio Diagnostic Systems, Inc. | 3661 Horseblock Road, Medford, NY 11763, US | WHO PQP | ROW | PQDx 0054-006-01 | v1.0 | Whole Blood (capillary, fingerstick collection) | Each box contains: • 1 Instruction for use • 1 Test Stand • 1 Alcohol swab • 1 sterile gauze pad • 1 Pouch containing: • 1 Sure Check HIV Self-Test device • 1 Buffer cap • 1 Sterile Safety Lancet • 1 Bandage • 1 Dessicant | 2020-02-26
None Specified | ARST001-03 | Mylan HIV Self Test | 1 test | 18 Months | 2-30 °C | Mylan Laboratories Limited (Viatris) | Atomo Diagnostics Limited | Level 2, 701-703 Parramatta Road, Leichardt 2040 NSW, Australia | WHO PQP | ROW | PQDx 0320-090-00 | v5.0 | Whole Blood (capillary, fingerstick collection) | Each box contains: • 1 Instruction for use (IFU, 3 languages) • 1 Mylan HIV Self Test (with dessicant) • 1 x 2mL Bottle Test Fluid (Diluent) • 1 alcohol wipe | 2020-02-26
None Specified | ARST001-03 | Mylan HIV Self Test | 1 test | 18 Months | 2-30 °C | Mylan Laboratories Limited (Viatris) | Atomo Diagnostics Limited | Lateral Flow Laboratories Pty. Ltd., Capricorn Business Park, Unit 1&2, Greenwich Place, Capricorn Crescent Mulzenburg, 7945, South Africa | WHO PQP | ROW | PQDx 0320-090-00 | v5.0 | Whole Blood (capillary, fingerstick collection) | Each box contains: • 1 Instruction for use (IFU, 3 languages) • 1 Mylan HIV Self Test (with dessicant) • 1 x 2mL Bottle Test Fluid (Diluent) • 1 alcohol wipe | 2020-02-26
None Specified | 1206502-100 | Uni-Gold™ HIV | 100 Tests | 20 Months | 2-27 °C | Trinity Biotech Manufacturing Limited | Trinity Biotech Manufacturing Limited | Arkray Healthcare Private Limited, Plot No. 336, 338, 340, Road Number 3, GIDC, Sachin, Surat, Gujarat 394230, India | WHO PQP | ROW | PQDx 0149-052-00 | v13.0 | Serum, Plasma, Whole Blood (capillary or venous) | Each box contains: • 100 test pouched tests • 5 x 2 mL Vials Wash Solution • 5 x 20 Disposable Plastic Non-sterile Pipettes • 5 Instructions for use | 2020-12-08
SPECIFIC TO NIGERIA | 1206502N-100 | Uni-Gold™ HIV | 100 Tests | 20 Months | 2-27 °C | Trinity Biotech Manufacturing Limited | Trinity Biotech Manufacturing Limited | Arkray Healthcare Private Limited, Plot No. 336, 338, 340, Road Number 3, GIDC, Sachin, Surat, Gujarat 394230, India | WHO PQP | NIGERIA | PQDx 0149-052-00 | v13.0 | Serum, Plasma, Whole Blood (capillary or venous) | Each box contains: • 100 pouched tests • 5 x 2 mL Vials Wash Solution • 5 x 20 Disposable Pipettes • 1 Instruction for use | 2020-12-08
None Specified | 03FK17 | Bioline HIV-1/2 v3.0 | 25 Tests | 24 Months | 1-30 °C | Abbott Rapid DX International Limited | Abbott Diagnostics Korea, Inc. | 65, Borahagal-ro, Giheung-gu, Yongin-si, Gyeonggi-do, 17099, Republic of Korea | WHO PQP | ROW | PQDx 0027-012-00 | v5.0 | Serum, Plasma, Whole Blood (capillary or venous) | Each box contains: • 25 pouched tests with a desiccant • 1 x 4 mL Assay diluent vial • 25 x capillary pipettes, • 25 x sterile lancets (safety lancets) • 25 x alcohol swabs • Instructions for use | 2021-05-13
None Specified | 09HIV20D | Standard Q HIV/Syphilis Combo | 25 Tests | 24 Months | 2-40 °C | SD Biosensor, Inc. | SD Biosensor, Inc. | 74, Osongsaengmyeong 4-ro, Osong-eup, Heungdeok-gu, Cheongju-si, Chungcheongbuk-do, 28161, Republic of Korea | WHO PQP | ROW | PQDx 0382-117-00 | v5.0 | Serum, Plasma, Whole Blood (capillary or venous) | Each box contains: • 25 Test Devices (test and dessicant) • 1 x 4 mL Buffer Bottle • 25 capillary tubes • 1 IFU • 25 sterile lancets • 25 alcohol swabs | 2020-05-26
None Specified | 09HIV20D | Standard Q HIV/Syphilis Combo | 25 Tests | 24 Months | 2-40 °C | SD Biosensor, Inc. | SD Biosensor, Inc. | SD Biosensor Healthcare Pvt Ltd., Plot no. 38, Sector 4, IMT Manesar, Gurugram, Haryana 122052, India | WHO PQP | ROW | PQDx 0382-117-00 | v5.0 | Serum, Plasma, Whole Blood (capillary or venous) | Each box contains: • 25 Test Devices (test and dessicant) • 1 x 4 mL Buffer Bottle • 25 capillary tubes • 1 IFU • 25 sterile lancets • 25 alcohol swabs | 2020-05-26
None Specified | 7D2343SETS | Determine™ HIV-1/2 | 100 Tests | 18 Months | 2-30 °C | Abbott Rapid DX International Limited | Abbott Diagnostics Medical Co. Ltd | 357 Matsuhidai Matsudo-shi, Chiba-ken 270-2214, Japan | WHO PQP | ROW | PQDx 0033-013-00 | V10.0 | Serum, Plasma, Whole Blood (capillary or venous) | Each box contains: • 10 cards of 10 tests/card • 1 IFU • Chase buffer 1 bottle/2.5 mL • 100 EDTA Capillary tubes, glass • 100 Blood lances, sterile (safety) | 2021-06-12
SPECIFIC TO THAILAND- ORAL FLUID ONLY VARIANT | 5X4-0062 | OraQuick® HIV-1/2 Rapid Antibody Test | 100 Tests | 30 Months | 2-30 °C | OraSure Technologies, Inc. | OraSure Technologies, Inc. | Pacific Biotech Co., Ltd., 42 Moo 4, Napa, Muang,, Petchaboon, 6700, Thailand | WHO PQP | ROW | PQDx 0159-055-00 | v11.0 | Oral Fluid, Serum, Plasma, Whole Blood (capillary or venous) | Each box contains: • 100 pouched tests (1 desiccant, 1 developer solution vial) • 10 Test stands • 3 Instructions for use | 2021-06-14
SPECIFIC TO THAILAND- ORAL FLUID ONLY VARIANT | 5X4-0062 | OraQuick® HIV-1/2 Rapid Antibody Test | 100 Tests | 30 Months | 2-30 °C | OraSure Technologies, Inc. | OraSure Technologies, Inc. | 220 East First Street, Bethlehem, PA 18015-1360, USA | WHO PQP | ROW | PQDx 0159-055-00 | v11.0 | Oral Fluid, Serum, Plasma, Whole Blood (capillary or venous) | Each box contains: • 100 pouched tests (1 desiccant, 1 developer solution vial) • 10 Test stands • 3 Instructions for use | 2021-06-14
None Specified | 09HIV30D | STANDARD Q HIV 1/2 Ab 3 Line Test | 25 tests | 24 Months | 2-40 °C | SD Biosensor, Inc. | SD Biosensor, Inc. | 74, Osongsaengmyeong 4-ro, Osong-eup, Heungdeok-gu, Cheongju-si, Chungcheongbuk-do, 28161, Republic of Korea | WHO PQP | ROW | PQDx 0383-117-00 | v4.0 | Serum, Plasma, Whole Blood (capillary or venous) | Each kit contains: • 25 Test devices (test and dessicant) • 1x4 mL Buffer Bottle • 25 capillary tubes (20 uL) • IFU • 25 sterile lancets • 25 alcohol swabs | 2021-06-14
None Specified | 09HIV30D | STANDARD Q HIV 1/2 Ab 3 Line Test | 25 tests | 24 Months | 2-40 °C | SD Biosensor, Inc. | SD Biosensor, Inc. | SD Biosensor Healthcare Pvt Ltd., Plot no. 38, Sector 4, IMT Manesar, Gurugram, Haryana 122052, India | WHO PQP | ROW | PQDx 0383-117-00 | v4.0 | Serum, Plasma, Whole Blood (capillary or venous) | Each kit contains: • 25 Test devices (test and dessicant) • 1x4 mL Buffer Bottle • 25 capillary tubes (20 uL) • IFU • 25 sterile lancets • 25 alcohol swabs | 2021-06-14
None Specified | 09HIV30DM | STANDARD Q HIV 1/2 Ab 3 Line Test | 25 Tests | 24 Months | 2-40 °C | SD Biosensor, Inc. | SD Biosensor, Inc. | 74, Osongsaengmyeong 4-ro, Osong-eup, Heungdeok-gu, Cheongju-si, Chungcheongbuk-do, 28161, Republic of Korea | WHO PQP | ROW | PQDx 0383-117-00 | v4.0 | Serum, Plasma, Whole Blood (capillary or venous) | Each kit contains: • 25 Test devices (test and dessicant) • 1x4 mL Buffer Bottle • IFU | 2021-06-14
None Specified | 09HIV30DM | STANDARD Q HIV 1/2 Ab 3 Line Test | 25 Tests | 24 Months | 2-40 °C | SD Biosensor, Inc. | SD Biosensor, Inc. | SD Biosensor Healthcare Pvt Ltd., Plot no. 38, Sector 4, IMT Manesar, Gurugram, Haryana 122052, India | WHO PQP | ROW | PQDx 0383-117-00 | v4.0 | Serum, Plasma, Whole Blood (capillary or venous) | Each kit contains: • 25 Test devices (test and dessicant) • 1x4 mL Buffer Bottle • IFU | 2021-06-14
None Specified | IHI-T402WG | ABON™ HIV 1/2/O Tri-Line Human Immunodeficiency Virus Rapid Test | 40 Tests | 24 Months | 2-30 °C | Abbott Rapid DX International Limited | ABON Biopharm (Hangzhou) Co., Ltd. | #198 12th Street East, Hangzhou Economic & Technological Development Area, Hangzhou, 130018, P.R. China | WHO PQP | ROW | PQDx 0141-051-00 | v8.0 | Serum, Plasma, Whole Blood (capillary or venous) | Each box contains: • 40 Test devices (test and dessicant) • 40 Sterile safety lancets • 40 Capillary tubes, heparinized • 40 Alcohol swabs • 40 Specimen droppers • 2 Bottles of buffer (3 mL/vial) • 1 Instructions For Use | 2021-06-14
None Specified | IHI-T402WB | ABON™ HIV 1/2/O Tri-Line Human Immunodeficiency Virus Rapid Test | 40 Tests | 24 Months | 2-30 °C | Abbott Rapid DX International Limited | ABON Biopharm (Hangzhou) Co., Ltd. | #198 12th Street East, Hangzhou Economic & Technological Development Area, Hangzhou, 130018, P.R. China | WHO PQP | ROW | PQDx 0141-051-00 | v8.0 | Serum, Plasma, Whole Blood (capillary or venous) | Each box contains: • 40 Test devices (test and dessicant) • 40 Sterile safety lancets • 40 Capillary tubes, heparinized • 40 Specimen droppers • 2 Bottles of buffer (3 mL/vial) • 1 Instructions For Use | 2021-06-14
None Specified | 90-1038 | INSTI™ HIV -1/HIV-2 Antibody Test | 48 Tests | 15 Months | 2-30 °C | bioLytical Laboratories, Inc. | bioLytical Laboratories, Inc. | 1108-13351 Commerce Parkway, V6V 2X7 Richmond, British Columbia, Canada | WHO PQP | ROW | PQDx 0002-002-00 | v6.0 | Serum, Plasma, Whole Blood (capillary or venous) | Each kit contains: • 48 membrane unit individually packaged • 48 sample diluent vials (1.5 mL) • 1 Color developer bottles (85 mL) • 1 Clarifying solution bottles (85 mL) • 48 single-use pipettes (50 mL) • English language labeling | 2021-06-14
None Specified | 90-1064 | INSTI™ HIV -1/HIV-2 Antibody Test | 48 Tests | 15 Months | 2-30 °C | bioLytical Laboratories, Inc. | bioLytical Laboratories, Inc. | 1108-13351 Commerce Parkway, V6V 2X7 Richmond, British Columbia, Canada | WHO PQP | ROW | PQDx 0002-002-00 | v6.0 | Serum, Plasma, Whole Blood (capillary or venous) | Each kit contains: • 48 membrane unit individually packaged • 48 sample diluent vials (1.5 mL) • 1 Color developer bottles (85 mL) • 1 Clarifying solution bottles (85 mL) • English language labeling | 2021-06-14
None Specified | ARST001-03-01 | Mylan HIV Self Test | 1 Test | 18 Months | 2-30 °C | Mylan Laboratories Limited (Viatris) | Atomo Diagnostics Limited | Level 2, 701-703 Parramatta Road, Leichardt 2040 NSW, Australia | WHO PQP | ROW | PQDx 0320-090-00 | v5.0 | Whole Blood (capillary, fingerstick collection) | Each box contains: • 1 Instruction for use (IFU, 3 languages) • 1 Mylan HIV Self Test (with dessicant) • 1 x 2mL Bottle Test Fluid (Diluent) • 1 alcohol wipe | 2021-09-24
None Specified | ARST001-03-02 | Mylan HIV Self Test | 1 Test | 18 Months | 2-30 °C | Mylan Laboratories Limited (Viatris) | Atomo Diagnostics Limited | Level 2, 701-703 Parramatta Road, Leichardt 2040 NSW, Australia | WHO PQP | ROW | PQDx 0320-090-00 | v5.0 | Whole Blood (capillary, fingerstick collection) | Each box contains: • 1 Instruction for use (IFU, English) • 1 Mylan HIV Self Test (with dessicant) • 1 x 2mL Bottle Test Fluid (Diluent) • 1 alcohol wipe | 2021-09-24
None Specified | ARST001-03-03 | Mylan HIV Self Test | 1 Test | 18 Months | 2-30 °C | Mylan Laboratories Limited (Viatris) | Atomo Diagnostics Limited | Level 2, 701-703 Parramatta Road, Leichardt 2040 NSW, Australia | WHO PQP | ROW | PQDx 0320-090-00 | v5.0 | Whole Blood (capillary, fingerstick collection) | Each box contains: • 1 Instruction for use (IFU, English) • 1 Mylan HIV Self Test (with dessicant) • 1 x 2mL Bottle Test Fluid (Diluent) • 1 alcohol wipe | 2021-09-24
None Specified | ARST001-03-XX | Mylan HIV Self Test | 1 Test | 18 Months | 2-30 °C | Mylan Laboratories Limited (Viatris) | Atomo Diagnostics Limited | Level 2, 701-703 Parramatta Road, Leichardt 2040 NSW, Australia | WHO PQP | ROW | PQDx 0320-090-00 | v5.0 | Whole Blood (capillary, fingerstick collection) | Each box contains: • 1 Instruction for use (IFU, English and regional language) • 1 Mylan HIV Self Test (with dessicant) • 1 x 2mL Bottle Test Fluid (Diluent) • 1 alcohol wipe | 2021-09-24
None Specified | ARST001-03-01 | Mylan HIV Self Test | 1 Test | 18 Months | 2-30 °C | Mylan Laboratories Limited (Viatris) | Atomo Diagnostics Limited | Lateral Flow Laboratories Pty. Ltd., Capricorn Business Park, Unit 1&2, Greenwich Place, Capricorn Crescent Mulzenburg, 7945, South Africa | WHO PQP | ROW | PQDx 0320-090-00 | v5.0 | Whole Blood (capillary, fingerstick collection) | Each box contains: • 1 Instruction for use (IFU, 3 languages) • 1 Mylan HIV Self Test (with dessicant) • 1 x 2mL Bottle Test Fluid (Diluent) • 1 alcohol wipe | 2021-09-24
None Specified | ARST001-03-02 | Mylan HIV Self Test | 1 Test | 18 Months | 2-30 °C | Mylan Laboratories Limited (Viatris) | Atomo Diagnostics Limited | Lateral Flow Laboratories Pty. Ltd., Capricorn Business Park, Unit 1&2, Greenwich Place, Capricorn Crescent Mulzenburg, 7945, South Africa | WHO PQP | ROW | PQDx 0320-090-00 | v5.0 | Whole Blood (capillary, fingerstick collection) | Each box contains: • 1 Instruction for use (IFU, English) • 1 Mylan HIV Self Test (with dessicant) • 1 x 2mL Bottle Test Fluid (Diluent) • 1 alcohol wipe | 2021-09-24
None Specified | ARST001-03-03 | Mylan HIV Self Test | 1 Test | 18 Months | 2-30 °C | Mylan Laboratories Limited (Viatris) | Atomo Diagnostics Limited | Lateral Flow Laboratories Pty. Ltd., Capricorn Business Park, Unit 1&2, Greenwich Place, Capricorn Crescent Mulzenburg, 7945, South Africa | WHO PQP | ROW | PQDx 0320-090-00 | v5.0 | Whole Blood (capillary, fingerstick collection) | Each box contains: • 1 Instruction for use (IFU, English) • 1 Mylan HIV Self Test (with dessicant) • 1 x 2mL Bottle Test Fluid (Diluent) • 1 alcohol wipe | 2021-09-24
None Specified | ARST001-03-XX | Mylan HIV Self Test | 1 Test | 18 Months | 2-30 °C | Mylan Laboratories Limited (Viatris) | Atomo Diagnostics Limited | Lateral Flow Laboratories Pty. Ltd., Capricorn Business Park, Unit 1&2, Greenwich Place, Capricorn Crescent Mulzenburg, 7945, South Africa | WHO PQP | ROW | PQDx 0320-090-00 | v5.0 | Whole Blood (capillary, fingerstick collection) | Each box contains: • 1 Instruction for use (IFU, English and regional language) • 1 Mylan HIV Self Test (with dessicant) • 1 x 2mL Bottle Test Fluid (Diluent) • 1 alcohol wipe | 2021-09-24
SPECIFIC TO ETHIOPIA | 1206502-C100 | Uni-Gold™ HIV Complete | 100 Tests | 20 Months | 2-27 °C | Trinity Biotech Manufacturing Limited | Trinity Biotech Manufacturing Limited | Arkray Healthcare Private Limited, Plot No. 336, 338, 340, Road Number 3, GIDC, Sachin, Surat, Gujarat 394230, India | WHO PQP | ETHIOPIA | PQDx 0149-052-00 | v13.0 | Serum, Plasma, Whole Blood (capillary or venous) | Each box contains: • 100 tests • 5 x 2mL Wash Solution • 5 x 20 Disposable Plastic Non-sterile Pipettes • 5 x 20 Sterile lancets • 100 Alcohol swabs • Instruction for use | 2021-09-27
SPECIFIC TO NIGERIA | 1206502-C | Uni-Gold™ HIV Complete | 20 Tests | 20 Months | 2-27 °C | Trinity Biotech Manufacturing Limited | Trinity Biotech Manufacturing Limited | Arkray Healthcare Private Limited, Plot No. 336, 338, 340, Road Number 3, GIDC, Sachin, Surat, Gujarat 394230, India | WHO PQP | NIGERIA | PQDx 0149-052-00 | v13.0 | Serum, Plasma, Whole Blood (capillary or venous) | Each box contains: • 20 pouched tests. • 1 X 2mL Wash Soluiton Vial. • 1 x 20 Disposable Plastic Non-sterile Pipettes • 1 x 20 Sterile lancets • 20 Alcohol swabs • 1 Instruction for use | 2022-02-08
None Specified | W006-C4P2 | One Step HIV1/2 Whole Blood/Serum/Plasma Test | 25 tests | 24 Months | 2-30 °C | Guangzhou Wondfo Biotech Company Limited | Guangzhou Wondfo Biotech Company Limited | No. 8 Lizhishan Road, Science City, Luogang District, Guangzhou, 510663, Republic of China | WHO PQP | ROW | PQDx 0357-004-00 | v3.0 | Serum, Plasma, Whole Blood (capillary or venous) | Each box contains: • 25 individual pouches, each containing: Test cassette Dropper Desiccant pouch • 1 bottle of buffer solutions (5 mL/bottle) • 1 Leaflet with Instructions for use | 2022-03-17
None Specified | W006-C4P2-F | One Step HIV1/2 Whole Blood/Serum/Plasma Test | 40 Tests | 24 Months | 2-30 °C | Guangzhou Wondfo Biotech Company Limited | Guangzhou Wondfo Biotech Company Limited | No. 8 Lizhishan Road, Science City, Luogang District, Guangzhou, 510663, Republic of China | WHO PQP | ROW | PQDx 0357-004-00 | v3.0 | Serum, Plasma, Whole Blood (capillary or venous) | Each box contains: • 40 individual pouches, each containing: Test cassette Dropper Desiccant pouch • 2 bottles of buffer solutions (5 mL/bottle) • 1 Leaflet with Instructions for use | 2022-03-17
None Specified | W006-P0045 | One Step HIV1/2 Whole Blood/Serum/Plasma Test | 25 Tests | 24 Months | 2-30 °C | Guangzhou Wondfo Biotech Company Limited | Guangzhou Wondfo Biotech Company Limited | No. 8 Lizhishan Road, Science City, Luogang District, Guangzhou, 510663, Republic of China | WHO PQP | ROW | PQDx 0357-004-00 | v3.0 | Serum, Plasma, Whole Blood (capillary or venous) | Each box contains: • 25 individual pouches, each containing: Test cassette Dropper Desiccant pouch • 1 bottle of buffer solutions (5 mL/bottle) • 1 Leaflet with Instructions for use • 25 Alcohol swab • 25 Sterile lancet | 2022-03-17
None Specified | W006-P0046 | One Step HIV1/2 Whole Blood/Serum/Plasma Test | 25 tests | 24 Months | 2-30 °C | Guangzhou Wondfo Biotech Company Limited | Guangzhou Wondfo Biotech Company Limited | No. 8 Lizhishan Road, Science City, Luogang District, Guangzhou, 510663, Republic of China | WHO PQP | ROW | PQDx 0357-004-00 | v3.0 | Serum, Plasma, Whole Blood (capillary or venous) | Each box contains: • 25 individual pouches, each containing: Test cassette Dropper Desiccant pouch • 1 bottle of buffer solutions (5 mL/bottle) • 1 Leaflet with Instructions for use •25 Alcohol swab • 25 Safety lancet (18G) | 2022-03-17
None Specified | W006-P0047 | One Step HIV1/2 Whole Blood/Serum/Plasma Test | 25 Tests | 24 Months | 2-30 °C | Guangzhou Wondfo Biotech Company Limited | Guangzhou Wondfo Biotech Company Limited | No. 8 Lizhishan Road, Science City, Luogang District, Guangzhou, 510663, Republic of China | WHO PQP | ROW | PQDx 0357-004-00 | v3.0 | Serum, Plasma, Whole Blood (capillary or venous) | Each box contains: • 25 individual pouches, each containing: Test cassette Dropper Desiccant pouch • 1 bottle of buffer solutions (5 mL/bottle) • 1 Leaflet with Instructions for use •25 Alcohol swab • 25 Safety lancet (21G) | 2022-03-17
None Specified | W006-P0048 | One Step HIV1/2 Whole Blood/Serum/Plasma Test | 25 Tests | 24 Months | 2-30 °C | Guangzhou Wondfo Biotech Company Limited | Guangzhou Wondfo Biotech Company Limited | No. 8 Lizhishan Road, Science City, Luogang District, Guangzhou, 510663, Republic of China | WHO PQP | ROW | PQDx 0357-004-00 | v3.0 | Serum, Plasma, Whole Blood (capillary or venous) | Each box contains: • 25 individual pouches, each containing: Test cassette Dropper Desiccant pouch • 1 bottle of buffer solutions (5 mL/bottle) • 1 Leaflet with Instructions for use •25 Alcohol swab • 25 Safety lancet (23G) | 2022-03-17
None Specified | W006-P0049 | One Step HIV1/2 Whole Blood/Serum/Plasma Test | 40 Tests | 24 Months | 2-30 °C | Guangzhou Wondfo Biotech Company Limited | Guangzhou Wondfo Biotech Company Limited | No. 8 Lizhishan Road, Science City, Luogang District, Guangzhou, 510663, Republic of China | WHO PQP | ROW | PQDx 0357-004-00 | v3.0 | Serum, Plasma, Whole Blood (capillary or venous) | Each box contains: • 40 individual pouches, each containing: Test cassette Dropper Desiccant pouch • 2 bottles of buffer solutions (5 mL/bottle) • 1 Leaflet with Instructions for use • 40 Alcohol swab • 40 Sterile lancet | 2022-03-17
None Specified | W006-P0050 | One Step HIV1/2 Whole Blood/Serum/Plasma Test | 40 Tests | 24 Months | 2-30 °C | Guangzhou Wondfo Biotech Company Limited | Guangzhou Wondfo Biotech Company Limited | No. 8 Lizhishan Road, Science City, Luogang District, Guangzhou, 510663, Republic of China | WHO PQP | ROW | PQDx 0357-004-00 | v3.0 | Serum, Plasma, Whole Blood (capillary or venous) | Each box contains: • 40 individual pouches, each containing: Test cassette Dropper Desiccant pouch • 2 bottles of buffer solutions (5 mL/bottle) • 1 Leaflet with Instructions for use • 40 Alcohol swab • 40 Safety lancet (18G) | 2022-03-17
None Specified | W006-P0051 | One Step HIV1/2 Whole Blood/Serum/Plasma Test | 40 Tests | 24 Months | 2-30 °C | Guangzhou Wondfo Biotech Company Limited | Guangzhou Wondfo Biotech Company Limited | No. 8 Lizhishan Road, Science City, Luogang District, Guangzhou, 510663, Republic of China | WHO PQP | ROW | PQDx 0357-004-00 | v3.0 | Serum, Plasma, Whole Blood (capillary or venous) | Each box contains: • 40 individual pouches, each containing: Test cassette Dropper Desiccant pouch • 2 bottles of buffer solutions (5 mL/bottle) • 1 Leaflet with Instructions for use • 40 Alcohol swab • 40 Safety lancet (21G) | 2022-03-17
None Specified | W006-P0052 | One Step HIV1/2 Whole Blood/Serum/Plasma Test | 40 Tests | 24 Months | 2-30 °C | Guangzhou Wondfo Biotech Company Limited | Guangzhou Wondfo Biotech Company Limited | No. 8 Lizhishan Road, Science City, Luogang District, Guangzhou, 510663, Republic of China | WHO PQP | ROW | PQDx 0357-004-00 | v3.0 | Serum, Plasma, Whole Blood (capillary or venous) | Each box contains: • 40 individual pouches, each containing: Test cassette Dropper Desiccant pouch • 2 bottles of buffer solutions (5 mL/bottle) • 1 Leaflet with Instructions for use • 40 Alcohol swab • 40 Safety lancet (23G) | 2022-03-17
None Specified | 29012-W01 | CheckNOW™ HIV Self Test | 1 Test | 24 Months | 2-30 °C | Abbott Rapid DX International Limited | Abbott Rapid Diagnostics Jena GmbH | Orlaweg 1, D-07743 Jena, Germany | WHO PQP | ROW | PQDx 0481-032-00 | v2.0 | Whole Blood (capillary blood) | Each box contains: • 1 test device • 2 Alcohol pads (sterile) • 1 Plaster (sterile) • 1 Buffer • 1 Specimen dropper • 1 Sterile lancet • 1 Instructions for Use | 2022-04-11
None Specified | 06FK37 | Bioline HIV/Syphilis Duo | 25 Tests | 24 Months | 1-30 °C | Abbott Rapid DX International Limited | Abbott Diagnostics Korea, Inc. | 65, Borahagal-ro, Giheung-gu, Yongin-si, Gyeonggi-do, 17099, Republic of Korea | WHO PQP | ROW | PQDx 0179-012-00 | v7.0 | Serum, Plasma, Whole Blood (capillary or venous) | Each box contains: • 25 individual foil pouched tests with a desiccant • 1 x 4 mL Assay diluent vial • 25 Specimen transfer devices (Capillary Pipettes) • 25 Lancets (sterile safety lancets) • 25 Alcohol swabs • 1 Instructions for Use | 2022-04-14
None Specified | 7D2843SETS | Determine HIV Early Detect | 100 Tests | 18 Months | 2-30 °C | Abbott Rapid DX International Limited | Abbott Diagnostics Medical Co. Ltd | 357 Matsuhidai Matsudo-shi, Chiba-ken 270-2214, Japan | WHO PQP | ROW | PQDx 0243-013-00 | v8.0 | Serum, Plasma, Whole Blood (capillary or venous) | Each box contains: • 10 cards of 10- tests • 1 Instructions for Use • 1 bottle chase buffer (2.5 mL) • 100 EDTA Capillary tubes, glass • 100 Blood lancets, Sterile (safety) | 2022-05-10
None Specified | W006P0058 | Wondfo HIV Self-Test | 1 Test | 24 Months | 2-30 °C | Guangzhou Wondfo Biotech Company Limited | Guangzhou Wondfo Biotech Company Limited | No. 8 Lizhishan Road, Science City, Luogang District, Guangzhou, 510663, Republic of China | WHO PQP | ROW | PQDx 0357-004-01 | v2.0 | Whole Blood (capillary, fingerstick collection) | Each box contains 1 individual pouch containing: Test cassette pouch: •1 test cassette •1 dessicant Accessories: •1 Dropper •1 Buffer (0.3ml vial) •1 Blood lancet for single use •1 Alcohol prep pad •1 Cotton swab •1 Disposal bag •1 Instructions For Use | 2022-07-20
None Specified | W006P0059 | Wondfo HIV Self-Test | 20 tests | 24 Months | 2-30 °C | Guangzhou Wondfo Biotech Company Limited | Guangzhou Wondfo Biotech Company Limited | No. 8 Lizhishan Road, Science City, Luogang District, Guangzhou, 510663, Republic of China | WHO PQP | ROW | PQDx 0357-004-01 | v2.0 | Whole Blood (capillary, fingerstick collection) | Each box contains 20 individual pouches, each containing: Test cassette pouch: •1 test cassette •1 dessicant Accessories: •1 Dropper •1 Buffer (0.3ml vial) •1 Blood lancet for single use •1 Alcohol prep pad •1 Cotton swab •1 Instructions For Use | 2022-07-20
None Specified | W006P0060 | Wondfo HIV Self-Test | 100 Tests | 24 Months | 2-30 °C | Guangzhou Wondfo Biotech Company Limited | Guangzhou Wondfo Biotech Company Limited | No. 8 Lizhishan Road, Science City, Luogang District, Guangzhou, 510663, Republic of China | WHO PQP | ROW | PQDx 0357-004-01 | v2.0 | Whole Blood (capillary, fingerstick collection) | Each box contains 100 individual pouches, each containing: Test cassette pouch: •1 test cassette •1 dessicant Accessories: •1 Dropper •1 Buffer (0.3ml vial) •1 Blood lancet for single use •1 Alcohol prep pad •1 Cotton swab •1 Instructions For Use | 2022-07-20
None Specified | A-GOLD-01 | Diagnostic kit for HIV (1+2) antibody (colloidal gold) V2 (KHB) | 50 Accessories | 24 Months | 4-30 °C | Shanghai Kehua Bio-engineering Company., Limited (KHB) | Shanghai Kehua Bio-engineering Company., Limited (KHB) | 1189 North Qinzhou Road 200233, Shanghai, China | WHO PQP | ROW | PQDx 0267-037-00 | v5.0 | Serum, Plasma, Whole Blood (capillary or venous) | Each box contains: • 50 Safety Lancets • 50 Alcohol Swabs • 50 Disposable Transfer Pipettes • 1 Instructions for use | 2022-09-01
None Specified | KH-R-03 | Diagnostic kit for HIV (1+2) antibody (colloidal gold) V2 (KHB) | 50 Tests | 24 Months | 4-30 °C | Shanghai Kehua Bio-engineering Company., Limited (KHB) | Shanghai Kehua Bio-engineering Company., Limited (KHB) | 1189 North Qinzhou Road 200233, Shanghai, China | WHO PQP | ROW | PQDx 0267-037-00 | v5.0 | Serum, Plasma, Whole Blood (capillary or venous) | Each box contains: • 50 Test cassettes • 2 x 4 mL bottle of sample diluent • 1 Instructions for use | 2022-09-01
None Specified | R-401-50-C-3 | Diagnostic kit for HIV (1+2) antibody (colloidal gold) V2 (KHB) | 50 Tests | 24 Months | 4-30 °C | Shanghai Kehua Bio-engineering Company., Limited (KHB) | Shanghai Kehua Bio-engineering Company., Limited (KHB) | 1189 North Qinzhou Road 200233, Shanghai, China | WHO PQP | ROW | PQDx 0267-037-00 | v5.0 | Serum, Plasma, Whole Blood (capillary or venous) | Each box contains: • 50 Test cassettes • 2 x 4 mL bottle of sample diluent • 50 Safety Lancets • 50 Alcohol Swabs • 50 Disposable Transfer Pipettes • 1 Instructions for use | 2022-09-01
### suffix is a country specific product code on the outer package and relates to language of the IFU [This is the community version] | 5X4-7000.050 | OraQuick®HIV Self Test | 50 Tests | 30 Months | 2-30 °C | OraSure Technologies, Inc. | OraSure Technologies, Inc. | Pacific Biotech Co., Ltd., 42 Moo 4, Napa, Muang,, Petchaboon, 6700, Thailand | WHO PQP | ROW | PQDx 0159-055-01 | v8.0 | Oral Fluid | Contains 50 kits of (5X4-7000.xxx). | 2022-09-01
### suffix is a country specific product code on the outer package and relates to language of the IFU [This is the community version] | 5X4-7000.050 | OraQuick®HIV Self Test | 50 Tests | 30 Months | 2-30 °C | OraSure Technologies, Inc. | OraSure Technologies, Inc. | 220 East First Street, Bethlehem, PA 18015-1360, USA | WHO PQP | ROW | PQDx 0159-055-01 | v8.0 | Oral Fluid | Contains 50 kits of (5X4-7000.xxx). | 2022-09-01
This is the pharmacy version: Each kit contains the same pouched device configuration as the community version, except the contents are contained in a carton. | 5X4-7000.200 | OraQuick®HIV Self Test | 200 Tests | 30 Months | 2-30 °C | OraSure Technologies, Inc. | OraSure Technologies, Inc. | Pacific Biotech Co., Ltd., 42 Moo 4, Napa, Muang,, Petchaboon, 6700, Thailand | WHO PQP | ROW | PQDx 0159-055-01 | v8.0 | Oral Fluid | Contains 200 kits of (5X4-7000P). | 2022-09-01
This is the pharmacy version: Each kit contains the same pouched device configuration as the community version, except the contents are contained in a carton. | 5X4-7000.200 | OraQuick®HIV Self Test | 200 Tests | 30 Months | 2-30 °C | OraSure Technologies, Inc. | OraSure Technologies, Inc. | 220 East First Street, Bethlehem, PA 18015-1360, USA | WHO PQP | ROW | PQDx 0159-055-01 | v8.0 | Oral Fluid | Contains 200 kits of (5X4-7000P). | 2022-09-01
### suffix is a country specific product code on the outer package and relates to language of the IFU [This is the community version] | 5X4-7000.250 | OraQuick®HIV Self Test | 250 Tests | 30 Months | 2-30 °C | OraSure Technologies, Inc. | OraSure Technologies, Inc. | Pacific Biotech Co., Ltd., 42 Moo 4, Napa, Muang,, Petchaboon, 6700, Thailand | WHO PQP | ROW | PQDx 0159-055-01 | v8.0 | Oral Fluid | Contains 250 kits of (5X4-7000.xxx). | 2022-09-01
### suffix is a country specific product code on the outer package and relates to language of the IFU [This is the community version] | 5X4-7000.250 | OraQuick®HIV Self Test | 250 Tests | 30 Months | 2-30 °C | OraSure Technologies, Inc. | OraSure Technologies, Inc. | 220 East First Street, Bethlehem, PA 18015-1360, USA | WHO PQP | ROW | PQDx 0159-055-01 | v8.0 | Oral Fluid | Contains 250 kits of (5X4-7000.xxx). | 2022-09-01
None Specified | 29011-W20 | Panbio™ HIV Verification Test | 20 Tests | 24 Months | 2-30 °C | Abbott Rapid DX International Limited | Abbott Rapid Diagnostics Jena GmbH | Orlaweg 1, D-07743 Jena, Germany | WHO PQP | ROW | PQDx 0480-032-00 | v2.0 | Serum, Plasma, Whole blood (capillary or venous) | Each box contains: • 20 pouched test devices (test and dessicant) • 20 Specimen Droppers • 1 Buffer (3 mL/vial) • 1 Instructions for Use | 2023-01-09
None Specified | 29011AW20 | Panbio™ HIV Verification Test | 20 Tests | 24 Months | 2-30 °C | Abbott Rapid DX International Limited | Abbott Rapid Diagnostics Jena GmbH | Orlaweg 1, D-07743 Jena, Germany | WHO PQP | ROW | PQDx 0480-032-00 | v2.0 | Serum, Plasma, Whole blood (capillary or venous) | Each box contains: • 20 pouched test devices (test and dessicant) • 20 Specimen Droppers • 1 Buffer (3 mL/vial) • 20 Single-use Sterile Lancets • 20 Alcohol Pads • 20 Fingerstick Blood Droppers • 1 Instructions for Use | 2023-01-09
None Specified | IHI-T402WD | ABON™ HIV 1/2/O Tri-Line Human Immunodeficiency Virus Rapid Test | 10 Tests | 24 Months | 2-30 °C | Abbott Rapid DX International Limited | ABON Biopharm (Hangzhou) Co., Ltd. | #198 12th Street East, Hangzhou Economic & Technological Development Area, Hangzhou, 130018, P.R. China | WHO PQP | ROW | PQDx 0141-051-00 | v8.0 | Serum, Plasma, Whole blood (capillary or venous) | Each box contains: • 10 Test devices (test and dessicant) • 10 Sterile safety lancets • 10 Capillary tubes, heparinized • 10 Alcohol swabs • 10 Specimen droppers • 1 Bottles of buffer (3 mL/vial) • 1 Instructions For Use | 2023-03-13
None Specified | IHI-T402WE | ABON™ HIV 1/2/O Tri-Line Human Immunodeficiency Virus Rapid Test | 40 Tests | 24 Months | 2-30 °C | Abbott Rapid DX International Limited | ABON Biopharm (Hangzhou) Co., Ltd. | #198 12th Street East, Hangzhou Economic & Technological Development Area, Hangzhou, 130018, P.R. China | WHO PQP | ROW | PQDx 0141-051-00 | v8.0 | Serum, Plasma, Whole blood (capillary or venous) | Each box contains: • 40 Test devices (test and dessicant) • 40 Sterile safety lancets • 40 Capillary tubes, heparinized • 40 Alcohol swabs • 40 Specimen droppers • 2 Bottles of buffer (3 mL/vial) • 1 Instructions For Use | 2023-03-13
None Specified | IHI-T402WF | ABON™ HIV 1/2/O Tri-Line Human Immunodeficiency Virus Rapid Test | 10 Tests | 24 Months | 2-30 °C | Abbott Rapid DX International Limited | ABON Biopharm (Hangzhou) Co., Ltd. | #198 12th Street East, Hangzhou Economic & Technological Development Area, Hangzhou, 130018, P.R. China | WHO PQP | ROW | PQDx 0141-051-00 | v8.0 | Serum, Plasma, Whole blood (capillary or venous) | Each box contains: • 10 Test devices (test and dessicant) • 10 Sterile safety lancets • 10 Capillary tubes, heparinized • 10 Alcohol swabs • 10 Specimen droppers • 1 Bottles of buffer (3 mL/vial) • 1 Instructions For Use | 2023-03-13
None Specified | IHI-T402WI | ABON™ HIV 1/2/O Tri-Line Human Immunodeficiency Virus Rapid Test | 40 Tests | 24 Months | 2-30 °C | Abbott Rapid DX International Limited | ABON Biopharm (Hangzhou) Co., Ltd. | #198 12th Street East, Hangzhou Economic & Technological Development Area, Hangzhou, 130018, P.R. China | WHO PQP | ROW | PQDx 0141-051-00 | v8.0 | Serum, Plasma, Whole blood (capillary or venous) | Each box contains: • 40 Test devices (test and dessicant) • 40 Sterile safety lancets • 40 Capillary tubes, heparinized • 40 Specimen droppers • 2 Bottles of buffer (3 mL/vial) • 1 Instructions For Use | 2023-03-13
None Specified | ITPW02153-TC40SA | ONE STEP Anti-HIV (1&2) Test | 40 Tests | 24 Months | 2-30 °C | Intec Products, Inc. | InTec Products, Inc. | 332, Xinguang Road, Xinyang IND. AREA, Haicang, Xiamen, 361022, China | WHO PQP | ROW | PQDx 0372-017-00 | v5.0 | Serum, Plasma (EDTA, heparin sodium or sodium citrate), Venous whole blood, Capillary whole blood | Each kit contains: • 1 x 40 Test Cassette and dessicants • 1 x 40 Dropper • 4 x sample diluent bottles (2 mL) • 1 x 40 sterile safety lancet (05-062122) • 1 x 40 alcohol swab • 1 x package insert | 2023-03-14
None Specified | I20FRC25-SA | First Response® HIV1+2/Syphilis Combo Card Test | 25 Tests | 24 Months | 4-30 °C | Premier Medical Corporation Private Limited | Premier Medical Corporation Private Limited | A1-302 and 3704-05, GIDC, Sarigam 396155, Valsad, Gujarat, India | WHO PQP | ROW | PQDx 0364-010-00 | v4.0 | Serum, Plasma, Whole blood (capillary or venous) | Each box contains: • 25 pouched tests (1 test device, 1 dessicant) • 25 Specimen transfer device • 1 x 2.5 ml Assay buffer •25 Auto Safety Lancet •25 Alcohol swabs • 1 Instructions for use | 2023-08-09
None Specified | ITPW02154-TC40 | ONE STEP Anti-HIV (1&2) Test | 40 Tests | 24 Months | 2-30 °C | Intec Products, Inc. | InTec Products, Inc. | 332, Xinguang Road, Xinyang IND. AREA, Haicang, Xiamen, 361022, China | WHO PQP | ROW | PQDx 0372-017-00 | v5.0 | Serum, Plasma (EDTA, heparin sodium or sodium citrate), Venous whole blood, Capillary whole blood | Each kit contains: • 1 x 40 Test Cassette and dessicants • 1 x 40 Dropper • 4 x sample diluent bottles (2 mL) • 1 x 40 sterile safety lancet (21G) • 1 x 40 alcohol swab • 1 x package insert | 2023-12-01
ROW | 5551100 | TrinScreen HIV | 100 Tests | 24 Months | 2-30 °C | Trinity Biotech Manufacturing Limited | Trinity Biotech Manufacturing Limited | Arkray Healthcare Private Limited, Plot No. 336, 338, 340, Road Number 3, GIDC, Sachin, Surat, Gujarat 394230, India | WHO PQP | ROW | PQDx 0473-052-00 | v2.0 | Serum, Plasma, Whole blood (capillary or venous) | Each box contains: • 100 pouched test devices (test with dessicant) • 4 x 2 mL dropper bottles Wash Solution • 100 Disposable Pipettes • 100 Single use sterile lancets • 100 Single use alcohol swabs • 1 Instruction for use | 2024-01-10
### suffix is a country specific product code on the outer package and relates to language of the IFU | 5X4-0004.### | OraQuick®HIV Self Test | 1 Test | 30 Months | 2-30 °C | OraSure Technologies, Inc. | OraSure Technologies, Inc. | Pacific Biotech Co., Ltd., 42 Moo 4, Napa, Muang,, Petchaboon, 6700, Thailand | WHO PQP | ROW | PQDx 0159-055-01 | v8.0 | Oral Fluid | Each pouched kit (5X4-0004.xxx) contains: • 1 divided pouch with - a single use test device - a desiccant - a 1mL developer solution vial • 1 test stand • 1 instructions for use • 1 disposal bag | 2024-01-31
### suffix is a country specific product code on the outer package and relates to language of the IFU | 5X4-0004.### | OraQuick®HIV Self Test | 1 Test | 30 Months | 2-30 °C | OraSure Technologies, Inc. | OraSure Technologies, Inc. | 220 East First Street, Bethlehem, PA 18015-1360, USA | WHO PQP | ROW | PQDx 0159-055-01 | v8.0 | Oral Fluid | Each pouched kit (5X4-0004.xxx) contains: • 1 divided pouch with - a single use test device - a desiccant - a 1mL developer solution vial • 1 test stand • 1 instructions for use • 1 disposal bag | 2024-01-31
For use only with Determine HIV Early Detect Use as intended in the IFU: • For each new operator prior to performing tests on patient specimen • In compliance with local laboratory guidelines • For training purposes | 7D2253 | Determine HIV Controls | 4 vials | 18 Months | 2-8 °C | Abbott Rapid DX International Limited | Abbott Diagnostics Medical Co. Ltd | 357 Matsuhidai Matsudo-shi, Chiba-ken 270-2214, Japan | CE mark | CE-MARK |  | None specified |  | Each kit contains: 1x1 mL negative control 1x1 mL HIV-1 antibody control 1x1 mL HIV-2 antibody control 1x1 mL p24 antigen control | 2024-04-05
### denotes country-specific language variants Details of 5X-0014 and 5X-0015 listed in WHO PQ eligible list are not available in the WHOPAR. Consult QA Team for confirmation of eligibility. | 5X4-0012.### | OraQuick® HIV-1/2 Rapid Antibody Test | 500 Tests | 30 Months | 2-30 °C | OraSure Technologies, Inc. | OraSure Technologies, Inc. | Pacific Biotech Co., Ltd., 42 Moo 4, Napa, Muang,, Petchaboon, 6700, Thailand | WHO PQP | ROW | PQDx 0159-055-00 | v11.0 | Oral Fluid, Serum, Plasma, Whole Blood | Each box contains: • 500 individually pouched tests (1 desiccant, 1 developer solution vial) • 20 Test stands • 25x20 specimen collection loops • 1 Instructions for use | 2019-09-07
### denotes country-specific language variants Details of 5X-0014 and 5X-0015 listed in WHO PQ eligible list are not available in the WHOPAR. Consult QA Team for confirmation of eligibility. | 5X4-0012.### | OraQuick® HIV-1/2 Rapid Antibody Test | 500 Tests | 30 Months | 2-30 °C | OraSure Technologies, Inc. | OraSure Technologies, Inc. | 220 East First Street, Bethlehem, PA 18015-1360, USA | WHO PQP | ROW | PQDx 0159-055-00 | v11.0 | Oral Fluid, Serum, Plasma, Whole Blood | Each box contains: • 500 individually pouched tests (1 desiccant, 1 developer solution vial) • 20 Test stands • 25x20 specimen collection loops • 1 Instructions for use | 2019-09-07
### denotes country-specific language variants Details of 5X-0014 and 5X-0015 listed in WHO PQ eligible list are not available in the WHOPAR. Consult QA Team for confirmation of eligibility. | 5X4-0010.### | OraQuick® HIV-1/2 Rapid Antibody Test | 100 Tests | 30 Months | 2-30 °C | OraSure Technologies, Inc. | OraSure Technologies, Inc. | Pacific Biotech Co., Ltd., 42 Moo 4, Napa, Muang,, Petchaboon, 6700, Thailand | WHO PQP | ROW | PQDx 0159-055-00 | v11.0 | Oral Fluid, Serum, Plasma, Whole Blood | Each box contains: • 100 individually pouched tests (1 desiccant, 1 developer solution vial) • 10 Test stands • 4x25 specimen collection loops • 1 Instructions for use | 2017-01-01
### denotes country-specific language variants Details of 5X-0014 and 5X-0015 listed in WHO PQ eligible list are not available in the WHOPAR. Consult QA Team for confirmation of eligibility. | 5X4-0010.### | OraQuick® HIV-1/2 Rapid Antibody Test | 100 Tests | 30 Months | 2-30 °C | OraSure Technologies, Inc. | OraSure Technologies, Inc. | 220 East First Street, Bethlehem, PA 18015-1360, USA | WHO PQP | ROW | PQDx 0159-055-00 | v11.0 | Oral Fluid, Serum, Plasma, Whole Blood | Each box contains: • 100 individually pouched tests (1 desiccant, 1 developer solution vial) • 10 Test stands • 4x25 specimen collection loops • 1 Instructions for use | 2017-01-01
Product item code 65-9500-1 listed in WHO PQ IVD list does not have a published PQDx 0210-006-00 and product is not in eligible list. Consult QA eligibility staff for additional product information | 65-9525-0 | DPP® HIV-Syphilis System | 20 Tests | 24 Months | 2-30 °C | Chembio Diagnostic Systems, Inc. | Chembio Diagnostic Systems, Inc. | 3661 Horseblock Road, Medford, NY 11763, US | USFDA/USAID | US FDA | PMA BP180191 | None specified | Serum, Plasma, Whole Blood | Each kit contains: • 20 DPP®SampleTainer® Sample Collection bottles (1mL) • 20 Blood collection loops • 1 DPP® Running Buffer Bottle (6mL) • 1 Product Insert | 2024-03-18
This part number is an internal SKU used by Abbott to trigger the addition of NAFDAC registration number on the secondary label, and included in procurment documents. The packaging will carry the part number that is preqaulified by WHO: 7D2343SET | 7D2343SETDSN | Determine™ HIV-1/2 | 100 Tests/Box | 18 Months | 2-30 °C | Abbott Rapid DX International Limited | Abbott Diagnostics Medical Co. Ltd | 357 Matsuhidai Matsudo-shi, Chiba-ken 270-2214, Japan | WHO PQP | ROW | PQDx 0033-013-00 | v10.0 | Serum, Plasma, Whole Blood | Each box contains: • 20 cards of 5 test cards • 1 IFU • Chase buffer 1 bottle/2.5 mL • 100 Capillary tubes, plastic • 100 Blood lancets, sterile | 2025-01-23
### suffix is a country specific product code on the outer package and relates to language of the IFU | 5X4-2001U.### | OraQuick®HIV Self Test | 1 Test | 30 | 2-30 °C | OraSure Technologies, Inc. | OraSure Technologies, Inc. | Pacific Biotech Co., Ltd., 42 Moo 4, Napa, Muang,, Petchaboon, 6700, Thailand |  | ROW | PQDx 0159-055-01 | V8.0 | Oral Fluid | Each pouched kit (5X4-2001U.xxx) contains: • 1 divided pouch with - a single use test device - a desiccant - a 1mL developer solution vial • 1 test stand • 1 instructions for use • 1 disposal bag | 2025-07-22
### suffix is a country specific product code on the outer package and relates to language of the IFU | 5X4-7000.### | OraQuick®HIV Self Test | 1 Test | 30 |  | OraSure Technologies, Inc. | OraSure Technologies, Inc. | Pacific Biotech Co., Ltd., 42 Moo 4, Napa, Muang,, Petchaboon, 6700, Thailand |  | ROW | PQDx 0159-055-01 | V8.0 | Oral Fluid | Each pouched kit (5X4-7000.xxx) contains: • 1 divided pouch with - a single use test device - a desiccant - a 1mL developer solution vial • 1 test stand • 1 instructions for use • 1 disposal bag | 2025-07-22
Product was prequalified in April 2025. The Asanté ® HIV-1/2 Oral-Self Tes tmay not yet available for purchase. Contact customerservice@sediabio.com for more information. | 1502-100 | Asanté™ HIV-1 /2 Oral Fluid Test | 100 Tests | 24 Months |  | Sedia Biosciences Corporation | Sedia Biosciences Corporation | 9590 SW Gemini Drive, Beaverton, Oregon, United States 97008 |  | ROW | PQDx 0661-265-00 | Not published | Oral Fluid | Each kit includes: 100x - Oral Swabs (PN 3094) 100x - Capped tubes containing Sample Buffer (PN 3099) 100x- Test Strips sealed in foil pouches with desiccant (PN 3092) 1x - Reusable foam tube holder (PN 7122) 1x- product insert (LN 6263) | 2025-07-22